PES1UG24CS203                       Joel Thomas                               Section 5D

Requirements Table

| Req ID | Type | Description | Priority |  | Acceptance Criteria | Rationale |
| --- | --- | --- | --- | --- | --- | --- |
| FR-001 | Functional | The system shall continuously evaluate ingested patient vitals against configured clinical thresholds and flag critical anomalies within 2 seconds. | High |  | Pass: High heart rate (>140 BPM) triggers immediate escalation alert. Fail: Metric spike ignored or delayed > 5s. | Given (baseline requirement). |
| FR-002 | Functional | The system shall notify the on-call caregiver (push notification + SMS) as soon as a critical vitals alert is generated. | High |  | Pass - caregiver's phone gets the alert within 10 sec of the breach being detected. Fail - takes longer than 10 sec or nothing is sent. | No point detecting a problem if the caregiver doesn't find out fast. |
| FR-003 | Functional | The system shall show the patient's live vitals (SpO2, Heart Rate, BP) on a dashboard that keeps updating on its own, patient shouldn't have to refresh. | Medium |  | Pass: new reading shows up on dashboard within ~3 sec. Fail: values on screen are more than 5 sec old. | Patient/caregiver should be able to see current status and not just get alerts. |
| FR-004 | Functional | The system shall log every vital reading and every alert (with a timestamp) so it can be reviewed later. | High |  | Pass: all readings and alerts generated during testing show up in the log with the right time. Fail: even one entry missing counts as fail. | For audit purposes / so doctors can check history after an incident. |
| FR-005 | Functional | If the primary on-call caregiver doesn't acknowledge a critical alert within 60 seconds, the system shall auto-escalate it to a secondary caregiver. | High |  | Pass: secondary caregiver gets the escalated alert right at the 60s mark if the first one wasn't acknowledged. Fail: no escalation happens, or it escalates even after ack. | So an unread alert doesn't turn into a missed emergency. |
| NFR-001 | Nonfunctional | The telemetry ingestion gateway shall support at least 500 concurrent continuous telemetry streams with 99.99% uptime. | High |  | Pass: Benchmarking tests confirm target latency and security standards under simulated peak load. | Given (baseline requirement). |
| NFR-002 | Nonfunctional | Patient vitals data shall be encrypted both in transit and at rest, in line with standard healthcare data privacy norms. | High |  | Pass - security audit confirms data is encrypted (TLS in transit, AES-256 at rest), no plaintext PHI found anywhere. Fail - even one unencrypted spot found. | Health data is sensitive, a breach would be a big legal/ethical problem for the hospital. |