PES1UG24CS203                               Joel Thomas                         Section 5D

Use Case: Send Emergency Alert

Primary Actor: On-Call Caregiver (gets notified); flow is triggered by the Remote Patient's vitals stream

Preconditions: Patient is enrolled and being actively monitored, clinical thresholds are already set for that patient, and the caregiver's app/device is on and reachable.

Postconditions: On-call caregiver has been notified about the critical vital sign event, and the alert + its outcome (acknowledged or escalated) is saved in the patient's log.

Main Success Scenario:

- Telemetry gateway picks up a new vitals reading (SpO2 / Heart Rate / BP) from the patient's device.

- System checks the reading against the patient's configured thresholds (includes "Detect Threshold Breach").

- System finds that the reading is a critical anomaly, e.g. HR > 140 BPM.

- System checks the caregiver matrix to figure out who's currently on-call for this patient.

- System fires off an emergency alert to that caregiver - push notification + SMS.

- On-call caregiver gets the alert and opens it in the app.

- Caregiver acknowledges it and pulls up the patient's live vitals.

- System logs the alert, when it was sent, and the acknowledgement in the patient's event history.

- Use case ends successfully.

Alternate Flow - 6a: Caregiver Doesn't Acknowledge in Time

- 6a1. System starts a 60 second timer the moment the alert goes out.

- 6a2. If nobody acknowledges within that time, system escalates to the secondary on-call caregiver (this is the "extend" case - Escalate Unacknowledged Alert).

- 6a3. Secondary caregiver gets the escalated alert and acknowledges it instead.

- 6a4. System logs the escalation along with the original alert, then flow rejoins the main scenario at step 8.